Sole Source Justification for two flat mirrors from WavePrecision Corp for the 200x200mm long KB bender system from the University of Chicago Machine shop

The MHATT-CAT  beamlines (U. of Michigan-Howard U.-ATT) are operated by the UofM and the Advanced Photon Source (APS).  In a previous order, we have specified a complete bender system to dynamically bend flat mirrors into ellipses to focus an X-ray beam to a few micron spot size. The previous quote from the University of Chicago Machine Shop (#070104) does not include mirrors. They have to be procured separately.

The best super polishing mirror company in the USA is WavePrecision. They make the best surfaces for X-ray reflecting mirrors. The roughness they achieve is around 1 Angstrom (RMS) and the figure error of fabricated mirrors is better than 1.5 microradians RMS.  Most vendors in the world would be afraid of quoting such specifications and their price would be double those of WavePrecision.  It is the company that the optical designer of this system, Peter Eng from the University of Chicago, fully recommends. He is one of the best X-ray optical designer in the world.  He travels and advises  people worldwide on how to best design microprobe equipment (Swiss Light Source, Spring8…).  From my own experience at the beamline 7ID of MHATT-CAT, I have bought several pairs of the shorter 100 mm long mirrors in 2002 and found them to be the best mirror I ever had. My experience can be found on the web FYI  (http://www.mhatt.aps.anl.gov/~dufresne/Manuals/CARS-KB/KB-CARS-Alignment/).  I strongly recommend this purchase as a sole source.  Please order WavePrecision Quote 006392-00 that is attached to this request.

Dr Eric Dufresne

Senior Res. Assoc. and experienced X-ray optical designer

University of Michigan

For reference to the bender system quote only, here is the related quote

Note that the quote does not include mirrors which have to be procured separately.

Dr. Eric Dufresne

Quote # 070104

The University of Chicago Central Shop is pleased to quote $33,134 for

one 200 mm X 200 mm KB Bender with controls and Helium enclosure.

1 - 200 mm x 200 mm KB Bender

-------------------------------------------------$ 17,100

2- One set of electrical components that control and support

one Kirkpatrick-Baez X-Ray Mirror Bender. The electrical

components comprise all Bipolar Stepping motors, motor

drivers and VME interfaces with cables. The cost includes

assembly, test and calibration with the mechanical assembly.

----------$11,500

3- 200 mm x 200 mm He Enclosure

----------------------------------------------- $ 4,534

--------------------------------------------------------------------------------

-----Total Cost $33,134

The KB Bender unit as quoted consist of the following.

The complete system includes:

1) A pair of benders (Horizontal and Vertical) with each bender actuated

by four motors (eight motors total). Two motors (Newport MFM stages) applying the up and down stream bending moments, one motor (Newport MFM stage) translates the

mirror along its surface normal, allowing the mirror to be centered on the beam and the fourth motor operates a cam tilt drive with an angular range of about +/- 20 mrad (rotating about the center and surface of the mirror) used for setting up the incident angle. The pair are held in mutual registration by a common support to an adjustable tripod for mounting to a table.

2) Each bender is connected to a vacuum tight feed through with a rubber

O-ring and a jam nut that can seal the system within the He enclosure.

3) A set of ~ 50 ft driver cables.

4) An eight channel driver box that takes as inputs step and direction through either two a "E500" like ribbon cable or two DB 25's.

5) A transition board for a VME crate supporting the use of an OMS 58 eight channel stepping motor controller. Note: Mirrors are not included with this quote.

A 200 mm x 200 mm He enclosure is available for $4,534.00. The He enclosure is designed to be compact so that you could work close to the end of the last mirror (200 mm )and still get a 45 deg microscope in to view the sample.

Delivery will be 10 weeks from date of order.

Thanks for considering our services.

W.C."Skip" Johnson

773-702-7858

Fax: 773-834-2966

E-Mail: johnson@ucec.uchicago.edu

Operations Manager

Univ. of Chicago Engineering Center, "UCEC"

Facilities Manager EFI, LASR, HEP, AAC, ACC